## Red Assessment
Challenge: Contractor Account Reuse — Red Team Assessment
MITRE ATT&CK for ICS ¦ T0859 (Valid Accounts) ¦ TA0110 Persistence / TA0109 Lateral Movement
Q# | Type | Question | Option A | Option B | Option C | Option D | Answer | Explanation
1 | MCQ | During reconnaissance, on which TCP port is the Rapid SCADA Webstation HMI interface accessible? | 80 | 8080 | 10008 | 5020 | 10008 | The Rapid SCADA Webstation HMI in this challenge runs on port 10008. Port 5020 is the Modbus simulator; port 8081 is the credential-leak backup server.
2 | MCQ | On the auxiliary backup server (port 8081), where was the maintenance credential clue discovered? | /config/scada.conf | /backup/maint_notes_112.json | /logs/http.log | /etc/passwd | /backup/maint_notes_112.json | The Python HTTP server on port 8081 hosts /var/www/html/. The maintenance note file maint_notes_112.json is planted in the /backup/ subdirectory and contains the contractor's temp_access_token in plaintext.
3 | MCQ | What role/permission level does the compromised contractor account hold in the Rapid SCADA Webstation, granting it access to the restricted feeder view? | Operator | Engineer | Administrator | Contractor | Contractor | The contractor_maint account has the 'Contractor' role. This grants exclusive access to the /Substation_High_Voltage_Feeder view (ViewID: 102), which is hidden from standard Operator and Engineer accounts.
4 | Fill in the Blank | What is the exact username of the contractor account discovered in the maintenance notes artifact? | — | — | — | — | contractor_maint | The field 'technician' in maint_notes_112.json explicitly contains the value 'contractor_maint'. This is the live account left active on the HMI after Work Order 882 was closed.
5 | Fill in the Blank — FLAG | After successfully logging in as the contractor and tripping the feeder breaker via the HMI API, a forensic artifact (flag) is revealed in the restricted Substation_High_Voltage_Feeder view. What is the exact flag value displayed? | — | — | — | — | FLAG{contractor_access_not_revoked_9a38f} | This flag is a real forensic artifact embedded in the HMI restricted view. It is ONLY rendered after the contractor session sends a POST to /api/breaker/trip and the page reloads. The flag is not visible without valid contractor credentials and the breaker-trip action.