## Blue Assessment
Challenge: Contractor Account Reuse — Blue Team Assessment
MITRE ATT&CK for ICS ¦ T0859 (Valid Accounts) ¦ TA0110 Persistence / TA0109 Lateral Movement
Q# | Type | Question | Option A | Option B | Option C | Option D | Answer | Explanation
1 | MCQ | While reviewing the ScadaWeb.log, what is the PRIMARY anomaly that distinguishes the contractor_maint login from the baseline operator/engineer activity? | The account logged in from the same IP as Operator1 | The login occurred at 03:15 AM — outside authorized hours (06:00–18:00) | The account viewed the Main_Dashboard instead of the restricted view | The login used a different HTTP method | The login occurred at 03:15 AM — outside authorized hours (06:00–18:00) | Baseline operator (Operator1) and engineer (Engineer1) activity is confined to daytime hours (08:00–17:00) from internal IPs (192.168.1.50/51). The contractor_maint login at 2026-06-18 03:15:22 is off-hours and from an external IP (203.0.113.42) — a double anomaly.
2 | MCQ | What account ROLE is identified in the audit logs as the threat actor responsible for the unauthorized access? | Operator | Engineer | Administrator | Contractor (contractor_maint) | Contractor (contractor_maint) | The log entry [2026-06-18 03:15:22] INF [contractor_maint] Login successful from 203.0.113.42 identifies the account role as Contractor. The contractor_maint identity is confirmed via grep 'contractor_maint' /opt/scada/ScadaWeb/log/ScadaWeb.log.
3 | MCQ | What does the maintenance work order file (/var/log/substation_maintenance/work_order_882_CLOSED.txt) reveal about the contractor account at the time of the unauthorized login? | The work order was still OPEN and the access was authorized | The contractor_maint account had already been disabled in Active Directory | The work order was CLOSED on 2026-06-15 but the contractor_maint account was NOT yet disabled | No work order exists for the contractor_maint account | The work order was CLOSED on 2026-06-15 but the contractor_maint account was NOT yet disabled | The file contains STATUS: CLOSED, END_DATE: 2026-06-15, and AD_DEPROVISIONING: PENDING — contractor_maint account NOT yet disabled as of 2026-06-18. This is the root-cause policy failure (MITRE T0859 — account lifecycle failure).
4 | Fill in the Blank | What is the exact source IP address of the anomalous contractor login, as recorded in the ScadaWeb.log file? | — | — | — | — | 203.0.113.42 | The log entry explicitly states: [2026-06-18 03:15:22] INF [contractor_maint] Login successful from 203.0.113.42. This IP is outside the expected internal OT network range (192.168.1.x) and falls within the IANA TEST-NET-3 range, confirming it is an external/unauthorized source.
5 | Fill in the Blank | What is the exact name of the restricted view/channel that was accessed during the unauthorized contractor session, as found in the user-action audit log? | — | — | — | — | Substation_High_Voltage_Feeder | The log entry reads: [2026-06-18 03:15:22] INF [contractor_maint] Access to view 'Substation_High_Voltage_Feeder' (ViewID: 102) from 203.0.113.42. This is the restricted channel that only contractor-role accounts can access. NOTE: Blue Assessment Q5 is NOT a flag — it is a concrete forensic finding from the log.